ANNEX A

SUMMARY DESCRIPTION AND COST ESTIMATE OF PRESENT NOTIFICATION

A) GENERAL

The NATO Support and Procurement Agency (NSPA) has been designated by the NATO Investment Committee (IC) as the Host Nation for Capability Package (CP) 9A1101 “NATO Response Force (NRF) Assets and Support”, and granted the authority to issue an ICB (International Competitive Bidding) for the implementation of Project 5HQ27103, entitled “Deployable Kitchen and Dining Facilities for NRF HQs”.

The following information provides an overview of the requirements that will be released during the ICB period:

### Project objective

### The chosen Contractor shall provide equipment for rapidly deployable camps accommodating up to 1800 people.  The camps shall consist of modules and sub-modules stored readily available for multi-modal transport including transport by military fixed wing aircrafts. Combined with elements not included in this summary description, this equipment will be used by military forces for a large spectrum of missions that may occur over a wide range of geographic environments and climatic conditions.  Accordingly, the solution proposed shall provide flexibility and modularity, shall be agile yet heavy duty and capable of performing under difficult climate and terrain conditions with minimum support (in accordance with the specifications of the forthcoming statement of work – SOW). When not deployed on a mission, this equipment will be mainly stored outdoors or used for exercises.

### Scope

### This project includes:

- Supply of deployable containerised kitchens including but not limited to food preparation and cooking, dishwashing capability, dry, cold and frozen storage facilities. The kitchens shall support up to 4 camps for a total of 1800 people. A modular solution is required in order to provide a growing capacity for the camps expansion.

- Packaging and packing plan developed in order to provide on optimised solution.

- Logistic support package including but not limited to documentation, bar coding, spares and tools.

- Engineering, testing, verification and validation as required.

- Training, Commissioning and Acceptance.

- Project Management and Reporting.

- Delivery: Taranto – ITA.

- SPECIFIC TERMS AND CONDITIONS

  - DELIVERY
Not later than 9 months after contract award.

  - PARTIAL BIDDING
Partial offers will not be accepted.

  - FOLLOW-ON SERVICES
No follow-on services are envisioned at this stage, however offers to provide extra services (in option) are included.

  - REQUIREMENTS IN OPTION
Requests for requirements in option are included.

  - QUALITY ASSURANCE
Requirement for Quality Assurance is included.

  - SECURITY LEVEL REQUIRED
NATO UNCLASSIFIED.

  - LANGUAGE

- The “Statement of Work” and subsequent contract will be in the English language.

- Offers and any communication to be made by the Bidders, and any technical data or documentation to be furnished by the Contractor must also be in English.

  - CURRENCY CONVERSION RATES

N/A at this stage.

- FINAL CONSIDERATIONS

- NSPA intends to issue the ICB Package to interested firms at a date yet to be determined, but not before 01 February 2019. The Bidders will be allowed not less than 42 calendar days to reply to the relevant ICB.

- The bids to be received in response to the NSPA ICB mentioned above will be valid for a period of no less than 180 calendar days from the bid closing date.

- The envisioned bidding method is “ICB under NSPO Procurement Regulations”.

- The information to be provided to the Bidders will be up to NATO UNCLASSIFIED.

- Please note that actual number of ICBs and actual quantities to be included in those ICBs may vary slightly from those specified in this NOI. Some project deliverables may be included as options to be acquired at later stages of the project implementation process.

- OVERALL ESTIMATED VALUE FOR THESE CONTRACTS IS: 4,000,000 € without options.